CONTAINMENT BERM FREEDOM III-INSTRUCTIONS

IMPORTANT: The Husky Portable Containment Berm is designed for medium to heavy duty rubber tired apparatus on smooth surfaces.  Enter and exit slowly.  Do not subject containment berm to sharp objects, unless a ground cover and tread pad is utilized.  The containment berm is not recommended for stone yards or rough surfaces, unless multiple layers of ground covers are used.

PREPARATION

- The area where the containment berm is to be utilized shall first be cleaned of all debris, stones, etc. by using a broom or air pressure device.

SET UP

- Unfold berm and spread out where needed

OPERATION

- The use of a submersible pump or wet vac is recommended in order to remove any liquid accumulated.  Place pump at the low end of the berm for easier collection of the water.

CLEAN UP OPERATION

- When done, clean up the containment berm by using rinse water and flushing the dirty water towards the sump pump.  A squeegee may be used if there are no sharp edges on the tool.  After cleaning you may fold your containment berm for storage.

YOU WILL NEED

- Water source, squeegee, wet vac or sump pump to transfer water to a water recycler or holding tank for proper disposal, garden hose, power sources (110V) for sump pump, waste water holding tank or water treatment system, pressure washer.